## capacity
Resource | Zone | Retrofit_Id | StartCap | RetCap | RetroCap | NewCap | EndCap | CapacityConstraintDual | StartEnergyCap | RetEnergyCap | NewEnergyCap | EndEnergyCap | StartChargeCap | RetChargeCap | NewChargeCap | EndChargeCap
CNQ_RS | 1 | None | 163.4 | 0 | 0 | 0 | 163.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | MW | [5 empty] | MWH
GG_RS | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | QLD | NSW | VIC | SA | TAS |  | QLD | NSW | VIC | SA | TAS
SQ_RS | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCGT | 3928.3687 | 3943.6923 | 2608.6944 | 990.4003 | 607.5418 | Battery | 1229.476 | 7177.8354 | 1160.8 | 1024.86 | 0
NNSW_RS | 4 | None | 2.5079 | 2.5079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 19171.257 | 5368.4257 | 3855.969 | 2055.6381 | 535.3952 | PHES | 39266.5965 | 405383.2645 | 18544.7747 | 10000 | 2000
CNSW_RS | 5 | None | 48 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SOLAR | 15738.888 | 17819.9367 | 6700 | 7700 | 500
SNW_RS | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WIND | 30471.3571 | 20000 | 9700 | 6500 | 3700
SNSW_RS | 7 | None | 2342 | 0 | 0 | 0 | 2342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BATTERY(MW) | 2120.8353 | 3588.9177 | 580.4 | 512.43 | 0
VIC_RS | 8 | None | 2292.23 | 0 | 0 | 0 | 2292.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PHES | 3124.7508 | 7010.9921 | 1763.8389 | 900 | 2750
SA_RS | 9 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_RS | 10 | None | 2294.2 | 0 | 0 | 0 | 2294.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_COAL | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_COAL | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_COAL | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_COAL | 5 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_COAL | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_COAL | 8 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_CCGT | 1 | None | 890.8101 | 0 | 0 | 0 | 890.8101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_CCGT | 2 | None | 581.3942 | 0 | 0 | 0 | 581.3942 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_CCGT | 3 | None | 2456.1644 | 0 | 0 | 0 | 2456.1644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_CCGT | 4 | None | 268.5534 | 0 | 0 | 0 | 268.5534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_CCGT | 5 | None | 137.0867 | 0 | 0 | 0 | 137.0867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_CCGT | 6 | None | 3046.7937 | 0 | 0 | 0 | 3046.7937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_CCGT | 7 | None | 491.2585 | 0 | 0 | 0 | 491.2585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCGT
VIC_CCGT | 8 | None | 2608.6944 | 0 | 0 | 0 | 2608.6944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
SA_CCGT | 9 | None | 990.4003 | 0 | 0 | 0 | 990.4003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3928.3687 | 3943.6923 | 2608.6944 | 990.4003 | 607.5418
TAS_CCGT | 10 | None | 607.5418 | 0 | 0 | 0 | 607.5418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_OCGT | 1 | None | 16294.015 | 43.7699 | 0 | 0 | 16250.2451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_OCGT | 2 | None | 1332.0185 | 11.0066 | 0 | 0 | 1321.0118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_OCGT | 3 | None | 1600 | 0 | 0 | 0 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_OCGT | 4 | None | 16 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_OCGT | 5 | None | 3390.4257 | 0 | 0 | 0 | 3390.4257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_OCGT | 6 | None | 1270 | 0 | 0 | 0 | 1270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_OCGT | 7 | None | 692 | 0 | 0 | 0 | 692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCTG
VIC_OCGT | 8 | None | 3939.3115 | 83.3425 | 0 | 0 | 3855.969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
SA_OCGT | 9 | None | 2055.6381 | 0 | 0 | 0 | 2055.6381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19171.257 | 5368.4257 | 3855.969 | 2055.6381 | 535.3952
TAS_OCGT | 10 | None | 535.3952 | 0 | 0 | 0 | 535.3952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_BIO | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ2_SOLAR | 1 | None | 1643.4427 | 0 | 0 | 2230.8953 | 3874.338 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ3_SOLAR | 1 | None | 916.1615 | 0 | 0 | 1266.868 | 2183.0295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ4_SOLAR | 1 | None | 423.0383 | 0 | 0 | 6476.9617 | 6900 | 1713.5513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_SQ6_SOLAR | 2 | None | 658.6706 | 0 | 0 | 0 | 658.6706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_SQ7_SOLAR | 3 | None | 427.9138 | 0 | 0 | 0 | 427.9138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_SQ8_SOLAR | 3 | None | 1694.9361 | 0 | 0 | 0 | 1694.9361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_SN1_SOLAR | 4 | None | 2395.7593 | 0 | 0 | 3604.2407 | 6000 | 21986.9255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_SN2_SOLAR | 4 | None | 710.386 | 0 | 0 | 960.0375 | 1670.4235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_SN3_SOLAR | 5 | None | 4068.0227 | 0 | 0 | 1881.4906 | 5949.5133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_SN5_SOLAR | 7 | None | 1428.8271 | 0 | 0 | 1771.1729 | 3200 | 103110.599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Solar
SNW_SN9_SOLAR | 6 | None | 0 | 0 | 0 | 1000 | 1000 | 8449.475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
VIC_SV2_SOLAR | 8 | None | 4700 | 0 | 0 | 0 | 4700 | 128217.8809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15738.888 | 17819.9367 | 6700 | 7700 | 500
VIC_SV6_SOLAR | 8 | None | 400.59 | 0 | 0 | 1599.41 | 2000 | 103127.2908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS3_SOLAR | 9 | None | 0 | 0 | 0 | 4000 | 4000 | 59080.8906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS7_SOLAR | 9 | None | 700 | 0 | 0 | 0 | 700 | 111946.0641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS5_SOLAR | 9 | None | 1659.899 | 0 | 0 | 1340.101 | 3000 | 54168.9809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_ST2_SOLAR | 10 | None | 400.3554 | 0 | 0 | 99.6446 | 500 | 28755.077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ1_WIND | 1 | None | 1400 | 0 | 0 | 0 | 1400 | 510597.6211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ2_WIND | 1 | None | 5587.7888 | 0 | 0 | 412.2112 | 6000 | 116939.6317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ4_WIND | 1 | None | 2375.4134 | 0 | 0 | 1424.5866 | 3800 | 299.6169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ3_WIND | 1 | None | 0 | 0 | 0 | 7771.3571 | 7771.3571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_WQ6_WIND | 2 | None | 2925.9014 | 0 | 0 | 574.0986 | 3500 | 20191.4911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_WQ8_WIND | 3 | None | 8000 | 0 | 0 | 0 | 8000 | 130103.1714 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_WN2_WIND | 4 | None | 5037.0084 | 0 | 0 | 2362.9916 | 7400 | 224970.1043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_WN3_WIND | 5 | None | 8000 | 0 | 0 | 0 | 8000 | 290017.7364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_WN9_WIND | 6 | None | 1600 | 0 | 0 | 0 | 1600 | 49131.7043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_WACT_WIND | 7 | None | 3000 | 0 | 0 | 0 | 3000 | 354630.4654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_WV3_WIND | 8 | None | 4300 | 0 | 0 | 0 | 4300 | 287806.8382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_WV4_WIND | 8 | None | 3400 | 0 | 0 | 0 | 3400 | 520730.9071 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wind
VIC_WV7_WIND | 8 | None | 2000 | 0 | 0 | 0 | 2000 | 100377.3172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
VIC_WV5_WIND | 8 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30471.3571 | 20000 | 9700 | 6500 | 3700
SA_WS1_WIND | 9 | None | 1100 | 0 | 0 | 0 | 1100 | 276195.2467 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_WS3_WIND | 9 | None | 4600 | 0 | 0 | 0 | 4600 | 347546.5495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_WS4_WIND | 9 | None | 800 | 0 | 0 | 0 | 800 | 296904.1338 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT1_WIND | 10 | None | 168 | 0 | 0 | 432 | 600 | 533535.2939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT2_WIND | 10 | None | 596.9925 | 0 | 0 | 203.0075 | 800 | 277011.999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT3_WIND | 10 | None | 544.7088 | 0 | 0 | 1755.2912 | 2300 | 644509.5256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_BATTERY | 1 | None | 52 | 0 | 0 | 0 | 52 | 0 | 104 | 0 | 0 | 104 | 0 | 0 | 0 | 0
GG_BATTERY | 2 | None | 238.9018 | 0 | 0 | 123.8362 | 362.738 | 0 | 477.8036 | 0 | 247.6724 | 725.476 | 0 | 0 | 0 | 0
SQ_BATTERY | 3 | None | 200 | 0 | 0 | 0 | 200 | 0 | 400 | 0 | 0 | 400 | 0 | 0 | 0 | 0
NNSW_BATTERY | 4 | None | 0 | 0 | 0 | 1558.0973 | 1558.0973 | 0 | 0 | 0 | 3116.1945 | 3116.1945 | 0 | 0 | 0 | 0
CNSW_BATTERY | 5 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_BATTERY | 6 | None | 1014.9507 | 0 | 0 | 705.5497 | 1720.5004 | 0 | 2029.9015 | 0 | 1411.0993 | 3441.0008 | 0 | 0 | 0 | 0
SNSW_BATTERY | 7 | None | 310.32 | 0 | 0 | 0 | 310.32 | 0 | 620.64 | 0 | 0 | 620.64 | 0 | 0 | 0 | 0
VIC_BATTERY | 8 | None | 580.4 | 0 | 0 | 0 | 580.4 | 0 | 1160.8 | 0 | 0 | 1160.8 | 0 | 0 | 0 | 0
SA_BATTERY | 9 | None | 512.43 | 0 | 0 | 0 | 512.43 | 0 | 1024.86 | 0 | 0 | 1024.86 | 0 | 0 | 0 | 0
TAS_BATTERY | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_PH | 1 | None | 0 | 0 | 0 | 874.7508 | 874.7508 | 0 | 0 | 0 | 9266.5965 | 9266.5965 | 0 | 0 | 0 | 0
GG_PH | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Battery
SQ_PH | 3 | None | 1303.1973 | 0 | 0 | 696.8027 | 2000 | 19943.0848 | 10425.5783 | 0 | 17574.4217 | 28000 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
NNSW_PH | 4 | None | 847.879 | 0 | 0 | 1402.121 | 2250 | 80006.7016 | 7923.7062 | 0 | 23359.0739 | 31282.78 | 0 | 0 | 0 | 0 | 2120.8353 | 3588.9177 | 580.4 | 512.43 | 0
CNSW_PH | 5 | None | 2000 | 0 | 0 | 0 | 2000 | 32298.252 | 16992.352 | 0 | 4708.1324 | 21700.4844 | 0 | 0 | 0 | 0
SNW_PH | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_PH | 7 | None | 720.9921 | 0 | 0 | 0 | 720.9921 | 0 | 9680 | 0 | 0 | 9680 | 0 | 0 | 0 | 0
VIC_PH | 8 | None | 1763.8389 | 0 | 0 | 0 | 1763.8389 | 0 | 14985.8861 | 0 | 3558.8886 | 18544.7747 | 0 | 0 | 0 | 0
SA_PH | 9 | None | 900 | 0 | 0 | 0 | 900 | 22766.9281 | 7487.8367 | 0 | 2512.1633 | 10000 | 0 | 0 | 0 | 0
TAS_PH | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_PH_NEW | 1 | None | 250 | 0 | 0 | 0 | 250 | 0 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0
SNSW_PH_SNOWY | 7 | None | 2040 | 0 | 0 | 0 | 2040 | 0 | 342720 | 0 | 0 | 342720 | 0 | 0 | 0 | 0
TAS_PH_NEW | 10 | None | 2750 | 0 | 0 | 0 | 2750 | 0 | 63000 | 0 | 0 | 63000 | 0 | 0 | 0 | 0
Total | n/a | n/a | 143494.5653 | 140.6269 | 0 | 46527.5236 | 189881.462 | n/a | 481033.3644 | 0 | 65754.2427 | 546787.6071 | 0 | 0 | 0 | 0 | MWH
QLD
[17 empty] | 1229.476 | 7177.8354 | 1160.8 | 1024.86 | 0
PHES
[17 empty] | QLD | NSW | VIC | SA | TAS
[17 empty] | 3124.7508 | 7010.9921 | 1763.8389 | 900 | 2750
MWH
[17 empty] | QLD | NSW | VIC | SA | TAS
[17 empty] | 39266.5965 | 405383.2645 | 18544.7747 | 10000 | 2000