## capacity
Resource | Zone | Retrofit_Id | StartCap | RetCap | RetroCap | NewCap | EndCap | CapacityConstraintDual | StartEnergyCap | RetEnergyCap | NewEnergyCap | EndEnergyCap | StartChargeCap | RetChargeCap | NewChargeCap | EndChargeCap
CNQ_RS | 1 | None | 163.4 | 0 | 0 | 0 | 163.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | MW | [6 empty] | MWH
GG_RS | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | QLD | NSW | VIC | SA | TAS |  |  | QLD | NSW | VIC | SA | TAS
SQ_RS | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCGT | 3673.2969 | 4561.316 | 3532.7997 | 1420.551 | 728.3505 | 13916.3141 | Battery | 1927.573 | 720.64 | 1160.8 | 1024.86 | 0
NNSW_RS | 4 | None | 32.97 | 0 | 0 | 0 | 32.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 11897.2104 | 4561.1349 | 2400 | 2000 | 2333.3918 | 23191.7371 | PHES | 28751.0698 | 382150.1752 | 0 | 8410.7938 | 2000
CNSW_RS | 5 | None | 48 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SOLAR | 10514.8375 | 13440.4869 | 6111.6741 | 3700 | 0 | 33766.9985
SNW_RS | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WIND | 21304.6022 | 20000 | 9700 | 5727.9946 | 3700 | 60432.5968
SNSW_RS | 7 | None | 2342 | 0 | 0 | 0 | 2342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BATTERY(MW) | 963.7865 | 360.32 | 580.4 | 512.43 | 0 | 2416.9365
VIC_RS | 8 | None | 2292.23 | 0 | 0 | 0 | 2292.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PHES | 3515.401 | 6185.6448 | 0 | 900 | 2750 | 13351.0458
SA_RS | 9 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_RS | 10 | None | 2294.2 | 0 | 0 | 0 | 2294.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_COAL | 1 | None | 3060 | 3060 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_COAL | 2 | None | 1850 | 1850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_COAL | 3 | None | 3292 | 3292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_COAL | 5 | None | 4040 | 4040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_COAL | 6 | None | 4200 | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_COAL | 8 | None | 146.9201 | 146.9201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_CCGT | 1 | None | 244 | 0 | 0 | 536.0299 | 780.0299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_CCGT | 2 | None | 180 | 0 | 0 | 897.8526 | 1077.8526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_CCGT | 3 | None | 1100 | 0 | 0 | 715.4144 | 1815.4144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_CCGT | 4 | None | 274.0062 | 0 | 0 | 138.973 | 412.9792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_CCGT | 5 | None | 0 | 0 | 0 | 1227.0779 | 1227.0779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_CCGT | 6 | None | 501.77 | 0 | 0 | 1889.0382 | 2390.8082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_CCGT | 7 | None | 530.4507 | 0 | 0 | 0 | 530.4507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCGT
VIC_CCGT | 8 | None | 3532.7997 | 0 | 0 | 0 | 3532.7997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
SA_CCGT | 9 | None | 1420.551 | 0 | 0 | 0 | 1420.551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3673.2969 | 4561.316 | 3532.7997 | 1420.551 | 728.3505
TAS_CCGT | 10 | None | 728.3505 | 0 | 0 | 0 | 728.3505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_OCGT | 1 | None | 120 | 0 | 0 | 2513.5368 | 2633.5368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_OCGT | 2 | None | 0 | 0 | 0 | 7663.6736 | 7663.6736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_OCGT | 3 | None | 1600 | 0 | 0 | 0 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_OCGT | 4 | None | 16 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_OCGT | 5 | None | 2583.1349 | 0 | 0 | 0 | 2583.1349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_OCGT | 6 | None | 1270 | 0 | 0 | 0 | 1270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_OCGT | 7 | None | 692 | 0 | 0 | 0 | 692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCTG
VIC_OCGT | 8 | None | 2400 | 0 | 0 | 0 | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
SA_OCGT | 9 | None | 2000 | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11897.2104 | 4561.1349 | 2400 | 2000 | 2333.3918
TAS_OCGT | 10 | None | 450.2156 | 0 | 0 | 1883.1762 | 2333.3918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_BIO | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ2_SOLAR | 1 | None | 1911.704 | 0 | 0 | 3298.8651 | 5210.5691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ3_SOLAR | 1 | None | 916.1615 | 0 | 0 | 112.338 | 1028.4995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ4_SOLAR | 1 | None | 423.0383 | 0 | 0 | 0 | 423.0383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_SQ6_SOLAR | 2 | None | 113.8374 | 0 | 0 | 61.0644 | 174.9018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_SQ7_SOLAR | 3 | None | 427.9138 | 0 | 0 | 379.7323 | 807.6462 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_SQ8_SOLAR | 3 | None | 1694.9361 | 0 | 0 | 1175.2465 | 2870.1826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_SN1_SOLAR | 4 | None | 494.8403 | 0 | 0 | 5505.1597 | 6000 | 15992.5488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_SN2_SOLAR | 4 | None | 710.386 | 0 | 0 | 0 | 710.386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_SN3_SOLAR | 5 | None | 1004.9239 | 0 | 0 | 3019.1806 | 4024.1046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_SN5_SOLAR | 7 | None | 1389.4751 | 0 | 0 | 316.5212 | 1705.9963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Solar
SNW_SN9_SOLAR | 6 | None | 0 | 0 | 0 | 1000 | 1000 | 8880.5935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
VIC_SV2_SOLAR | 8 | None | 731.2738 | 0 | 0 | 3968.7262 | 4700 | 38990.2539 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10514.8375 | 13440.4869 | 6111.6741 | 3700 | 0
VIC_SV6_SOLAR | 8 | None | 400.59 | 0 | 0 | 1011.0841 | 1411.6741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS3_SOLAR | 9 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS7_SOLAR | 9 | None | 700 | 0 | 0 | 0 | 700 | 160345.0013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS5_SOLAR | 9 | None | 211.5431 | 0 | 0 | 2788.4569 | 3000 | 77029.9316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_ST2_SOLAR | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ1_WIND | 1 | None | 1400 | 0 | 0 | 0 | 1400 | 1133668.3667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ2_WIND | 1 | None | 809.4764 | 0 | 0 | 5190.5236 | 6000 | 340635.4204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ4_WIND | 1 | None | 0 | 0 | 0 | 2776.933 | 2776.933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ3_WIND | 1 | None | 0 | 0 | 0 | 2954.7334 | 2954.7334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_WQ6_WIND | 2 | None | 0 | 0 | 0 | 172.9358 | 172.9358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_WQ8_WIND | 3 | None | 4683.723 | 0 | 0 | 3316.277 | 8000 | 197561.872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_WN2_WIND | 4 | None | 1281.952 | 0 | 0 | 6118.048 | 7400 | 25362.2859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_WN3_WIND | 5 | None | 5647.0052 | 0 | 0 | 2352.9948 | 8000 | 121516.7906 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_WN9_WIND | 6 | None | 1253.861 | 0 | 0 | 346.139 | 1600 | 458400.5641 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_WACT_WIND | 7 | None | 3000 | 0 | 0 | 0 | 3000 | 448964.4423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_WV3_WIND | 8 | None | 2360 | 0 | 0 | 1940 | 4300 | 109739.9053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_WV4_WIND | 8 | None | 2000 | 0 | 0 | 1400 | 3400 | 173781.6594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wind
VIC_WV5_WIND | 8 | None | 194.686 | 0 | 0 | 1805.314 | 2000 | 1056434.2807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
VIC_WV7_WIND | 8 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21304.6022 | 20000 | 9700 | 5727.9946 | 3700
SA_WS1_WIND | 9 | None | 392.2933 | 0 | 0 | 707.7067 | 1100 | 115935.6404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_WS3_WIND | 9 | None | 1801.323 | 0 | 0 | 2026.6716 | 3827.9946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_WS4_WIND | 9 | None | 566.3837 | 0 | 0 | 233.6163 | 800 | 13483.1504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT1_WIND | 10 | None | 168 | 0 | 0 | 432 | 600 | 356880.659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT2_WIND | 10 | None | 393.6 | 0 | 0 | 406.4 | 800 | 214407.6452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT3_WIND | 10 | None | 515.0711 | 0 | 0 | 1784.9289 | 2300 | 561048.234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_BATTERY | 1 | None | 52 | 0 | 0 | 0 | 52 | 0 | 104 | 0 | 0 | 104 | 0 | 0 | 0 | 0
GG_BATTERY | 2 | None | 0 | 0 | 0 | 7.6839 | 7.6839 | 0 | 0 | 0 | 15.3678 | 15.3678 | 0 | 0 | 0 | 0
SQ_BATTERY | 3 | None | 200 | 0 | 0 | 704.1026 | 904.1026 | 0 | 350 | 0 | 1458.2052 | 1808.2052 | 0 | 0 | 0 | 0
NNSW_BATTERY | 4 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_BATTERY | 5 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_BATTERY | 6 | None | 50 | 0 | 0 | 0 | 50 | 0 | 75 | 0 | 25 | 100 | 0 | 0 | 0 | 0
SNSW_BATTERY | 7 | None | 310.32 | 0 | 0 | 0 | 310.32 | 0 | 570 | 0 | 50.64 | 620.64 | 0 | 0 | 0 | 0
VIC_BATTERY | 8 | None | 580.4 | 0 | 0 | 0 | 580.4 | 0 | 736 | 0 | 424.8 | 1160.8 | 0 | 0 | 0 | 0
SA_BATTERY | 9 | None | 512.43 | 0 | 0 | 0 | 512.43 | 0 | 604.08 | 0 | 420.78 | 1024.86 | 0 | 0 | 0 | 0
TAS_BATTERY | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_PH | 1 | None | 0 | 0 | 0 | 1265.401 | 1265.401 | 0 | 0 | 0 | 10751.0698 | 10751.0698 | 0 | 0 | 0 | 0
GG_PH | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Battery
SQ_PH | 3 | None | 570 | 0 | 0 | 1430 | 2000 | 87071.638 | 6000 | 0 | 10000 | 16000 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
NNSW_PH | 4 | None | 0 | 0 | 0 | 2250 | 2250 | 4749.5108 | 0 | 0 | 19116.396 | 19116.396 | 0 | 0 | 0 | 0 | 963.7865 | 360.32 | 580.4 | 512.43 | 0
CNSW_PH | 5 | None | 0 | 0 | 0 | 1329.2224 | 1329.2224 | 0 | 0 | 0 | 10633.7792 | 10633.7792 | 0 | 0 | 0 | 0
SNW_PH | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_PH | 7 | None | 250 | 0 | 0 | 316.4224 | 566.4224 | 0 | 9680 | 0 | 0 | 9680 | 0 | 0 | 0 | 0
VIC_PH | 8 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_PH | 9 | None | 0 | 0 | 0 | 900 | 900 | 1401.7487 | 0 | 0 | 8410.7938 | 8410.7938 | 0 | 0 | 0 | 0
TAS_PH | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_PH_NEW | 1 | None | 250 | 0 | 0 | 0 | 250 | 0 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0
SNSW_PH_SNOWY | 7 | None | 2040 | 0 | 0 | 0 | 2040 | 0 | 342720 | 0 | 0 | 342720 | 0 | 0 | 0 | 0
TAS_PH_NEW | 10 | None | 2750 | 0 | 0 | 0 | 2750 | 0 | 63000 | 0 | 0 | 63000 | 0 | 0 | 0 | 0
Total | n/a | n/a | 88568.1468 | 16588.9201 | 0 | 82269.2022 | 154248.4288 | n/a | 425839.08 | 0 | 61306.8318 | 487145.9118 | 0 | 0 | 0 | 0 | MWH
QLD
[17 empty] | 1927.573 | 720.64 | 1160.8 | 1024.86 | 0
PHES
[17 empty] | QLD | NSW | VIC | SA | TAS
[17 empty] | 3515.401 | 6185.6448 | 0 | 900 | 2750
MWH
[17 empty] | QLD | NSW | VIC | SA | TAS
[17 empty] | 28751.0698 | 382150.1752 | 0 | 8410.7938 | 2000