## capacity
Resource | Zone | Retrofit_Id | StartCap | RetCap | RetroCap | NewCap | EndCap | CapacityConstraintDual | StartEnergyCap | RetEnergyCap | NewEnergyCap | EndEnergyCap | StartChargeCap | RetChargeCap | NewChargeCap | EndChargeCap
CNQ_RS | 1 | None | 163.4 | 0 | 0 | 0 | 163.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | MW | [6 empty] | MWH
GG_RS | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | QLD | NSW | VIC | SA | TAS |  |  | QLD | NSW | VIC | SA | TAS
SQ_RS | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCGT | 4007.8065 | 4561.8389 | 3532.7997 | 1420.551 | 728.3505 | 14251.3466 | Battery | 6268.362 | 21226.3167 | 1160.8 | 6759.7666 | 0
NNSW_RS | 4 | None | 32.97 | 32.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCGT | 15845.047 | 4561.1349 | 2400 | 2000 | 2333.3918 | 27139.5737 | PHES | 80352.5506 | 421204.2714 | 19770.5292 | 10000 | 2000
CNSW_RS | 5 | None | 48 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SOLAR | 17306.6997 | 24050 | 6700 | 7700 | 500 | 56256.6997
SNW_RS | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WIND | 30700 | 20000 | 9700 | 6500 | 3700 | 70600
SNSW_RS | 7 | None | 2342 | 0 | 0 | 0 | 2342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BATTERY(MW) | 3134.181 | 10613.1584 | 580.4 | 3379.8833 | 0 | 17707.6227
VIC_RS | 8 | None | 2292.23 | 0 | 0 | 0 | 2292.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PHES | 5803.622 | 6797.9708 | 950.8714 | 900 | 2750 | 17202.4641
SA_RS | 9 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_RS | 10 | None | 2294.2 | 0 | 0 | 0 | 2294.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_COAL | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_COAL | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_COAL | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_COAL | 5 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_COAL | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_COAL | 8 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_CCGT | 1 | None | 780.0299 | 0 | 0 | 334.5096 | 1114.5396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_CCGT | 2 | None | 1077.8526 | 0 | 0 | 0 | 1077.8526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_CCGT | 3 | None | 1815.4144 | 0 | 0 | 0 | 1815.4144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_CCGT | 4 | None | 412.9792 | 0 | 0 | 0.52291 | 413.5021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_CCGT | 5 | None | 1227.0779 | 0 | 0 | 0 | 1227.0779 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_CCGT | 6 | None | 2390.8082 | 0 | 0 | 0 | 2390.8082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_CCGT | 7 | None | 530.4507 | 0 | 0 | 0 | 530.4507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CCGT
VIC_CCGT | 8 | None | 3532.7997 | 0 | 0 | 0 | 3532.7997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
SA_CCGT | 9 | None | 1420.551 | 0 | 0 | 0 | 1420.551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4007.8065 | 4561.8389 | 3532.7997 | 1420.551 | 728.3505
TAS_CCGT | 10 | None | 728.3505 | 0 | 0 | 0 | 728.3505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_OCGT | 1 | None | 2633.5368 | 0 | 0 | 3947.8366 | 6581.3734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_OCGT | 2 | None | 7663.6736 | 0 | 0 | 0 | 7663.6736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_OCGT | 3 | None | 1600 | 0 | 0 | 0 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_OCGT | 4 | None | 16 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_OCGT | 5 | None | 2583.1349 | 0 | 0 | 0 | 2583.1349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_OCGT | 6 | None | 1270 | 0 | 0 | 0 | 1270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_OCGT | 7 | None | 692 | 0 | 0 | 0 | 692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OCTG
VIC_OCGT | 8 | None | 2400 | 0 | 0 | 0 | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
SA_OCGT | 9 | None | 2000 | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15845.047 | 4561.1349 | 2400 | 2000 | 2333.3918
TAS_OCGT | 10 | None | 2333.3918 | 0 | 0 | 0 | 2333.3918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_BIO | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ2_SOLAR | 1 | None | 5210.5691 | 0 | 0 | 2789.4309 | 8000 | 31041.9987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ3_SOLAR | 1 | None | 1028.4995 | 0 | 0 | 2371.5005 | 3400 | 421.2495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_SQ4_SOLAR | 1 | None | 423.0383 | 0 | 0 | 0 | 423.0383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_SQ6_SOLAR | 2 | None | 174.9018 | 0 | 0 | 0 | 174.9018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_SQ7_SOLAR | 3 | None | 807.6462 | 0 | 0 | 1630.9308 | 2438.577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_SQ8_SOLAR | 3 | None | 2870.1826 | 0 | 0 | 0 | 2870.1826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_SN1_SOLAR | 4 | None | 6000 | 0 | 0 | 0 | 6000 | 53964.335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_SN2_SOLAR | 4 | None | 710.386 | 0 | 0 | 6289.614 | 7000 | 44576.3419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_SN3_SOLAR | 5 | None | 4024.1046 | 0 | 0 | 2825.8954 | 6850 | 52004.8319 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_SN5_SOLAR | 7 | None | 1705.9963 | 0 | 0 | 1494.0037 | 3200 | 100320.1159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Solar
SNW_SN9_SOLAR | 6 | None | 1000 | 0 | 0 | 0 | 1000 | 61385.5966 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
VIC_SV2_SOLAR | 8 | None | 4700 | 0 | 0 | 0 | 4700 | 148415.898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17306.6997 | 24050 | 6700 | 7700 | 500
VIC_SV6_SOLAR | 8 | None | 1411.6741 | 0 | 0 | 588.3259 | 2000 | 98427.1533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS3_SOLAR | 9 | None | 0 | 0 | 0 | 4000 | 4000 | 100942.7639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS7_SOLAR | 9 | None | 700 | 0 | 0 | 0 | 700 | 255632.9437 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_SS5_SOLAR | 9 | None | 3000 | 0 | 0 | 0 | 3000 | 168391.138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_ST2_SOLAR | 10 | None | 0 | 0 | 0 | 500 | 500 | 58376.9722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ1_WIND | 1 | None | 1400 | 0 | 0 | 0 | 1400 | 1132302.7308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ2_WIND | 1 | None | 6000 | 0 | 0 | 0 | 6000 | 468835.6913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ4_WIND | 1 | None | 2776.933 | 0 | 0 | 1023.067 | 3800 | 219667.1762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_WQ3_WIND | 1 | None | 2954.7334 | 0 | 0 | 5045.2666 | 8000 | 168421.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GG_WQ6_WIND | 2 | None | 172.9358 | 0 | 0 | 3327.0642 | 3500 | 198033.8734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SQ_WQ8_WIND | 3 | None | 8000 | 0 | 0 | 0 | 8000 | 231853.0429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NNSW_WN2_WIND | 4 | None | 7400 | 0 | 0 | 0 | 7400 | 124874.1216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNSW_WN3_WIND | 5 | None | 8000 | 0 | 0 | 0 | 8000 | 141442.3533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_WN9_WIND | 6 | None | 1600 | 0 | 0 | 0 | 1600 | 307774.7909 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_WACT_WIND | 7 | None | 3000 | 0 | 0 | 0 | 3000 | 443381.6913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_WV3_WIND | 8 | None | 4300 | 0 | 0 | 0 | 4300 | 191768.664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC_WV4_WIND | 8 | None | 3400 | 0 | 0 | 0 | 3400 | 257307.4572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wind
VIC_WV7_WIND | 8 | None | 2000 | 0 | 0 | 0 | 2000 | 124308.1666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
VIC_WV5_WIND | 8 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30700 | 20000 | 9700 | 6500 | 3700
SA_WS1_WIND | 9 | None | 1100 | 0 | 0 | 0 | 1100 | 233571.9793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_WS3_WIND | 9 | None | 3827.9946 | 0 | 0 | 772.0054 | 4600 | 238034.3167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA_WS4_WIND | 9 | None | 800 | 0 | 0 | 0 | 800 | 105627.8798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT1_WIND | 10 | None | 600 | 0 | 0 | 0 | 600 | 575271.6168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT2_WIND | 10 | None | 800 | 0 | 0 | 0 | 800 | 460142.3491 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TAS_WT3_WIND | 10 | None | 2300 | 0 | 0 | 0 | 2300 | 820808.041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_BATTERY | 1 | None | 52 | 0 | 0 | 0 | 52 | 0 | 104 | 0 | 0 | 104 | 0 | 0 | 0 | 0
GG_BATTERY | 2 | None | 7.6839 | 0 | 0 | 161.7891 | 169.473 | 0 | 15.3678 | 0 | 323.5782 | 338.946 | 0 | 0 | 0 | 0
SQ_BATTERY | 3 | None | 904.1026 | 0 | 0 | 2008.6054 | 2912.708 | 0 | 1808.2052 | 0 | 4017.2108 | 5825.416 | 0 | 0 | 0 | 0
NNSW_BATTERY | 4 | None | 0 | 0 | 0 | 8301.35 | 8301.35 | 0 | 0 | 0 | 16602.7 | 16602.7 | 0 | 0 | 0 | 0
CNSW_BATTERY | 5 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNW_BATTERY | 6 | None | 50 | 0 | 0 | 1951.4883 | 2001.4883 | 0 | 100 | 0 | 3902.9767 | 4002.9767 | 0 | 0 | 0 | 0
SNSW_BATTERY | 7 | None | 310.32 | 0 | 0 | 0 | 310.32 | 0 | 620.64 | 0 | 0 | 620.64 | 0 | 0 | 0 | 0
VIC_BATTERY | 8 | None | 580.4 | 0 | 0 | 0 | 580.4 | 0 | 1160.8 | 0 | 0 | 1160.8 | 0 | 0 | 0 | 0
SA_BATTERY | 9 | None | 512.43 | 0 | 0 | 2867.4533 | 3379.8833 | 0 | 1024.86 | 0 | 5734.9066 | 6759.7666 | 0 | 0 | 0 | 0
TAS_BATTERY | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_PH | 1 | None | 1265.401 | 0 | 0 | 2288.2209 | 3553.622 | 0 | 10751.0698 | 0 | 39601.4808 | 50352.5506 | 0 | 0 | 0 | 0
GG_PH | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Battery
SQ_PH | 3 | None | 2000 | 0 | 0 | 0 | 2000 | 65532.3031 | 16000 | 0 | 12000 | 28000 | 0 | 0 | 0 | 0 | QLD | NSW | VIC | SA | TAS
NNSW_PH | 4 | None | 2250 | 0 | 0 | 0 | 2250 | 80303.9783 | 19116.396 | 0 | 25822.3351 | 44938.7312 | 0 | 0 | 0 | 0 | 3134.181 | 10613.1584 | 580.4 | 3379.8833 | 0
CNSW_PH | 5 | None | 1329.2224 | 0 | 0 | 612.326 | 1941.5484 | 0 | 10633.7792 | 0 | 12366.2208 | 23000 | 0 | 0 | 0 | 0
SNW_PH | 6 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SNSW_PH | 7 | None | 566.4224 | 0 | 0 | 0 | 566.4224 | 0 | 9680 | 0 | 865.5403 | 10545.5403 | 0 | 0 | 0 | 0
VIC_PH | 8 | None | 0 | 0 | 0 | 950.8714 | 950.8714 | 0 | 0 | 0 | 19770.5292 | 19770.5292 | 0 | 0 | 0 | 0
SA_PH | 9 | None | 900 | 0 | 0 | 0 | 900 | 0 | 8410.7938 | 0 | 1589.2062 | 10000 | 0 | 0 | 0 | 0
TAS_PH | 10 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CNQ_PH_NEW | 1 | None | 250 | 0 | 0 | 0 | 250 | 0 | 2000 | 0 | 0 | 2000 | 0 | 0 | 0 | 0
SNSW_PH_SNOWY | 7 | None | 2040 | 0 | 0 | 0 | 2040 | 0 | 342720 | 0 | 0 | 342720 | 0 | 0 | 0 | 0
TAS_PH_NEW | 10 | None | 2750 | 0 | 0 | 0 | 2750 | 0 | 63000 | 0 | 0 | 63000 | 0 | 0 | 0 | 0
Total | n/a | n/a | 154248.4288 | 32.97 | 0 | 56082.078 | 210297.5369 | n/a | 487145.9118 | 0 | 142596.6849 | 629742.5967 | 0 | 0 | 0 | 0 | MWH
QLD
[17 empty] | 6268.362 | 21226.3167 | 1160.8 | 6759.7666 | 0
PHES
[17 empty] | QLD | NSW | VIC | SA | TAS
[17 empty] | 5803.622 | 6797.9708 | 950.8714 | 900 | 2750
MWH
[17 empty] | QLD | NSW | VIC | SA | TAS
[17 empty] | 80352.5506 | 421204.2714 | 19770.5292 | 10000 | 2000